| ## Worksheet 2-3: Convert Fuel Measurements to MJ (1 of 3 pages) |  |  |  |  |
| --- | --- | --- | --- | --- |
| - From Worksheet 2-1, enter the total amount of each type of fuel on the appropriate line below. Be sure your units match the units on the worksheet so the conversion factor is correct. - Multiply the amount of fuel by the conversion factor, to measure each fuel as mega joules (MJ). - Add up the subtotals for electricity, heating, and transport. Add up the total amount of fuel in MJ. - Use the following guidelines to divide diesel fuel if your survey worksheets combine it: heating – 75%, transport – 25%. Note: diesel – electricity should be separate from heating and transport. |  |  |  |  |
| Fuel | Amount | Units | Conversion factor | Total fuel in MJ |
| Diesel – electricity |  | Litres | X 36.4 | MJ |
| Natural gas – electricity |  | M3 | X 37 | MJ |
| Hydro – electricity |  | KWh | X 3.6 | MJ |
| Wind – electricity |  | KWh | X 3.6 | MJ |
| Solar – electricity |  | KWh | X 3.6 | MJ |
| Electricity subtotal MJ |  |  |  |  |

| Worksheet 2-3: Convert Fuel Measurements to MJ (2 of 3 pages) |  |  |  |  |
| --- | --- | --- | --- | --- |
| - From your survey sheets, enter the total amount of each type of fuel on the appropriate line below. Be sure your units match the units on the worksheet so the conversion factor is correct. - Multiply the amount of fuel by the conversion factor, to measure each fuel as mega joules (MJ). - Add up the subtotals for electricity, heating, and transport. Add up the total amount of fuel in MJ. |  |  |  |  |
| Fuel | Amount | Units | Conversion factor | Total fuel in MJ |
| Fuel oil or diesel – heating |  | Litres | X 36.4 | MJ |
| Gas or propane – heating |  | M3 | X 37 | MJ |
| Solar air/water, waste heat recovery |  | MJ | 1 | MJ |
| Firewood – heating |  | Cords | X 18,700 | MJ |
| Wood pellets – heating |  | Tonnes | X 19,800 | MJ |
| Heating subtotal MJ |  |  |  |  |
| Worksheet 2-3: Convert Fuel Measurements to MJ (3 of 3 pages) |  |  |  |  |
| - From your survey sheets, enter the total amount of each type of fuel on the appropriate line below. Be sure your units match the units on the worksheet so the conversion factor is correct. - Multiply the amount of fuel by the conversion factor, to measure each fuel as mega joules (MJ). - Add up the subtotals for electricity, heating, and transport. Add up the total amount of fuel in MJ. |  |  |  |  |
| Fuel | Amount | Units | Conversion factor | Total fuel in MJ |
| Gasoline – transport |  | Litres | X 35 | MJ |
| Diesel – transport |  | Litres | X 36.4 | MJ |
| Transport subtotal MJ |  |  |  |  |
| Grand total (electricity subtotal + heating subtotal + transport subtotal) MJ |  |  |  |  |
| Calculate MJ per person: Total MJ per year ÷ # people in community = Average MJ per person MJ ÷ = MJ/person |  |  |  |  |